## setting
time_start | time_end
2019-01-01 | 2019-01-02

## data
heating_setpoint_alfalfa_Value | cooling_setpoint_alfalfa_Value | heating_setpoint_alfalfa_Enable_Value | cooling_setpoint_alfalfa_Enable_Value | time_sim | Zone Relative Humidity | Zone Mean Temp | Zone Temp | System Node Temperature | Outdoor Air Drybulb Temperature | Heating Setpoint | Heating Setpoint (Deadband) | Heating Deadband Up | Heating Deadband Down | Cooling Setpoint | Cooling Setpoint (Deadband) | Cooling Deadband Up | Cooling Deadband Down | Heating Coil Runtime Fraction | Cooling Coil Runtime Fraction | Supply Fan Runtime Fraction | System Node Current Density Volume Flow Rate
0 | 0 | 0 | 0 | 2019-01-01 00:00:00 | 90.787 | 23.7974 | 23.7974 | 21.667 | 7.2 | 21.667 | 21.667 | 0 | 0 | 25.889 | 25.889 | 0 | 0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:01:00 | 90.9077 | 23.7757 | 23.7757 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:02:00 | 91.052 | 23.7496 | 23.7496 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:03:00 | 91.2036 | 23.722 | 23.722 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:04:00 | 91.3546 | 23.6946 | 23.6946 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:05:00 | 91.503 | 23.6677 | 23.6677 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:06:00 | 91.6492 | 23.6414 | 23.6414 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:07:00 | 91.7935 | 23.6153 | 23.6153 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:08:00 | 91.9364 | 23.5896 | 23.5896 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:09:00 | 92.0779 | 23.5642 | 23.5642 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:10:00 | 92.218 | 23.5391 | 23.5391 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:11:00 | 92.3569 | 23.5142 | 23.5142 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:12:00 | 92.4944 | 23.4897 | 23.4897 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:13:00 | 92.6307 | 23.4654 | 23.4654 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:14:00 | 92.7658 | 23.4413 | 23.4413 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:15:00 | 92.8997 | 23.4175 | 23.4175 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:16:00 | 93.0324 | 23.394 | 23.394 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:17:00 | 93.164 | 23.3707 | 23.3707 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:18:00 | 93.2945 | 23.3476 | 23.3476 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:19:00 | 93.4239 | 23.3247 | 23.3247 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:20:00 | 93.5522 | 23.3021 | 23.3021 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:21:00 | 93.6795 | 23.2797 | 23.2797 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:22:00 | 93.8058 | 23.2575 | 23.2575 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:23:00 | 93.9311 | 23.2355 | 23.2355 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:24:00 | 94.0554 | 23.2138 | 23.1922 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:26:00 | 94.3012 | 23.1708 | 23.1708 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:27:00 | 94.4228 | 23.1496 | 23.1496 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:28:00 | 94.5434 | 23.1286 | 23.1286 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:29:00 | 94.6632 | 23.1078 | 23.1078 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:30:00 | 94.7821 | 23.0871 | 23.0871 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:31:00 | 94.9002 | 23.0667 | 23.0667 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:32:00 | 95.0174 | 23.0464 | 23.0464 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:33:00 | 95.1339 | 23.0262 | 23.0262 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:34:00 | 95.2496 | 23.0063 | 23.0063 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:35:00 | 95.3645 | 22.9865 | 22.9865 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:36:00 | 95.4786 | 22.9668 | 22.9668 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:37:00 | 95.592 | 22.9473 | 22.9473 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:38:00 | 95.7047 | 22.928 | 22.928 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:39:00 | 95.8167 | 22.9088 | 22.9088 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:40:00 | 95.928 | 22.8897 | 22.8897 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:41:00 | 96.0385 | 22.8708 | 22.8708 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:42:00 | 96.1484 | 22.852 | 22.852 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:43:00 | 96.2577 | 22.8334 | 22.8334 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:44:00 | 96.3663 | 22.8149 | 22.8149 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:45:00 | 96.4742 | 22.7965 | 22.7965 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:46:00 | 96.5815 | 22.7783 | 22.7783 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:47:00 | 96.6883 | 22.7602 | 22.7602 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:48:00 | 96.7944 | 22.7422 | 22.7422 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:49:00 | 96.8999 | 22.7244 | 22.7244 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:50:00 | 97.0049 | 22.7066 | 22.7066 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:51:00 | 97.1092 | 22.689 | 22.689 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:52:00 | 97.213 | 22.6715 | 22.6715 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:53:00 | 97.3163 | 22.6541 | 22.6541 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:54:00 | 97.4189 | 22.6368 | 22.6368 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:55:00 | 97.5211 | 22.6196 | 22.6196 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:56:00 | 97.6227 | 22.6026 | 22.6026 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:57:00 | 97.7238 | 22.5856 | 22.5856 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:58:00 | 97.8244 | 22.5688 | 22.5688 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 00:59:00 | 97.9245 | 22.552 | 22.552 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:00:00 | 98.0241 | 22.5354 | 22.5354 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:01:00 | 98.1314 | 22.5165 | 22.5165 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:02:00 | 98.2459 | 22.4964 | 22.4964 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:03:00 | 98.3626 | 22.4758 | 22.4758 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:04:00 | 98.4787 | 22.4554 | 22.4554 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:05:00 | 98.5938 | 22.4352 | 22.4352 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:06:00 | 98.7078 | 22.4152 | 22.4152 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:07:00 | 98.821 | 22.3953 | 22.3953 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:08:00 | 98.9334 | 22.3756 | 22.3756 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:09:00 | 99.0451 | 22.3561 | 22.3561 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:10:00 | 99.1561 | 22.3367 | 22.3367 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:11:00 | 99.2664 | 22.3174 | 22.3174 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:12:00 | 99.376 | 22.2983 | 22.2983 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:13:00 | 99.485 | 22.2793 | 22.2793 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:14:00 | 99.5933 | 22.2604 | 22.2604 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:15:00 | 99.701 | 22.2416 | 22.2416 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:16:00 | 99.808 | 22.223 | 22.223 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:17:00 | 99.9145 | 22.2045 | 22.2045 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:18:00 | 100 | 22.1861 | 22.1861 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:19:00 | 100 | 22.1679 | 22.1679 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:20:00 | 100 | 22.1497 | 22.1497 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:21:00 | 100 | 22.1317 | 22.1317 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:23:00 | 100 | 22.096 | 22.096 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:24:00 | 100 | 22.0783 | 22.0783 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:25:00 | 100 | 22.0607 | 22.0607 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:26:00 | 100 | 22.0432 | 22.0432 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:27:00 | 100 | 22.0258 | 22.0258 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:28:00 | 100 | 22.0085 | 22.0085 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:29:00 | 100 | 21.9914 | 21.9914 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:30:00 | 100 | 21.9743 | 21.9743 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:31:00 | 100 | 21.9573 | 21.9573 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:32:00 | 100 | 21.9404 | 21.9404 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:33:00 | 100 | 21.9236 | 21.9236 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:34:00 | 100 | 21.9069 | 21.9069 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:35:00 | 100 | 21.8903 | 21.8903 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:36:00 | 100 | 21.8737 | 21.8737 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:37:00 | 100 | 21.8573 | 21.8573 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:38:00 | 100 | 21.8409 | 21.8409 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:39:00 | 100 | 21.8247 | 21.8247 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:40:00 | 100 | 21.8085 | 21.8085 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:41:00 | 100 | 21.7924 | 21.7924 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:42:00 | 100 | 21.7764 | 21.7764 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:43:00 | 100 | 21.7604 | 21.7604 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:44:00 | 100 | 21.7446 | 21.7446 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:45:00 | 100 | 21.7288 | 21.7288 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:46:00 | 100 | 21.7131 | 21.7131 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:47:00 | 100 | 21.6974 | 21.6974 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:48:00 | 100 | 21.6819 | 21.6819 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:49:00 | 100 | 21.6664 | 21.6664 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:50:00 | 100 | 21.651 | 21.651 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:51:00 | 100 | 21.6356 | 21.6356 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:52:00 | 100 | 21.6204 | 21.6204 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:53:00 | 100 | 21.6052 | 21.6052 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:54:00 | 100 | 21.59 | 21.59 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:55:00 | 100 | 21.575 | 21.575 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:56:00 | 100 | 21.56 | 21.56 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:57:00 | 100 | 21.545 | 21.545 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:58:00 | 100 | 21.5302 | 21.5302 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 01:59:00 | 100 | 21.5154 | 21.5154 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:00:00 | 100 | 21.5006 | 21.5006 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:01:00 | 100 | 21.4855 | 21.4855 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:02:00 | 100 | 21.4701 | 21.4701 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:03:00 | 100 | 21.4547 | 21.4547 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:04:00 | 100 | 21.4394 | 21.4394 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:05:00 | 100 | 21.4242 | 21.4242 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:06:00 | 100 | 21.409 | 21.409 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:07:00 | 100 | 21.394 | 21.394 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:08:00 | 100 | 21.379 | 21.379 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:09:00 | 100 | 21.3642 | 21.3642 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:10:00 | 100 | 21.3494 | 21.3494 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:11:00 | 100 | 21.3347 | 21.3347 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:12:00 | 100 | 21.3201 | 21.3201 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:13:00 | 100 | 21.3055 | 21.3055 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:14:00 | 100 | 21.2911 | 21.2911 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:15:00 | 100 | 21.2767 | 21.2767 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:16:00 | 100 | 21.2624 | 21.2624 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:17:00 | 100 | 21.2482 | 21.2482 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:18:00 | 100 | 21.234 | 21.234 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:20:00 | 100 | 21.2059 | 21.2059 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:21:00 | 100 | 21.192 | 21.192 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:22:00 | 100 | 21.1781 | 21.1781 | 21.667 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:23:00 | 100 | 21.167 | 21.167 | 44.7964 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0.024066 | 0 | 0.015104 | 0.0085537
22.667 | 27.889 | 1 | 1 | 2019-01-01 02:24:00 | 99.2851 | 21.2801 | 21.2801 | 44.7282 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39821
22.667 | 27.889 | 1 | 1 | 2019-01-01 02:25:00 | 98.1473 | 21.4678 | 21.4678 | 44.4778 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39773
22.667 | 27.889 | 1 | 1 | 2019-01-01 02:26:00 | 96.9001 | 21.6768 | 21.6768 | 44.3817 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.3975
22.667 | 27.889 | 1 | 1 | 2019-01-01 02:27:00 | 95.682 | 21.8834 | 21.8834 | 44.496 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39762
22.667 | 27.889 | 1 | 1 | 2019-01-01 02:28:00 | 94.5218 | 22.0826 | 22.0826 | 44.6926 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39787
22.667 | 27.889 | 1 | 1 | 2019-01-01 02:29:00 | 93.412 | 22.2756 | 22.2756 | 44.8871 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39812
22.667 | 27.889 | 1 | 1 | 2019-01-01 02:30:00 | 92.3423 | 22.464 | 22.464 | 45.0655 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39835
22.667 | 27.889 | 1 | 1 | 2019-01-01 02:31:00 | 91.3071 | 22.6487 | 22.6487 | 45.2367 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39856
22.667 | 27.889 | 1 | 1 | 2019-01-01 02:32:00 | 90.968 | 22.7092 | 22.7092 | 22.3893 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:33:00 | 91.0612 | 22.6914 | 22.6914 | 22.4681 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:34:00 | 91.3019 | 22.6469 | 22.6469 | 22.4826 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:35:00 | 91.555 | 22.6004 | 22.6004 | 22.4778 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:36:00 | 91.7863 | 22.5579 | 22.5579 | 22.4726 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:37:00 | 91.999 | 22.5189 | 22.5189 | 22.4704 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:38:00 | 92.2015 | 22.4818 | 22.4818 | 22.4701 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:39:00 | 92.3987 | 22.4458 | 22.4458 | 22.4703 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:40:00 | 92.5924 | 22.4104 | 22.4104 | 22.4705 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:41:00 | 92.7827 | 22.3758 | 22.3758 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:42:00 | 92.9696 | 22.3418 | 22.3418 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:43:00 | 93.1532 | 22.3085 | 22.3085 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:44:00 | 93.3334 | 22.2758 | 22.2758 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:45:00 | 93.5105 | 22.2438 | 22.2438 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:46:00 | 93.6845 | 22.2124 | 22.2124 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:47:00 | 93.8555 | 22.1816 | 22.1816 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:48:00 | 94.0236 | 22.1513 | 22.1513 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:49:00 | 94.1889 | 22.1216 | 22.1216 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:50:00 | 94.3515 | 22.0924 | 22.0924 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:51:00 | 94.5116 | 22.0638 | 22.0638 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:52:00 | 94.6691 | 22.0356 | 22.0356 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:53:00 | 94.8243 | 22.0079 | 22.0079 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:54:00 | 94.9771 | 21.9806 | 21.9806 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:55:00 | 95.1276 | 21.9538 | 21.9538 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:56:00 | 95.2759 | 21.9275 | 21.9275 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:57:00 | 95.422 | 21.9015 | 21.9015 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:58:00 | 95.5661 | 21.8759 | 21.8759 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 02:59:00 | 95.7081 | 21.8508 | 21.8508 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:00:00 | 95.8483 | 21.826 | 21.826 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:01:00 | 95.986 | 21.8018 | 21.8018 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:02:00 | 96.1213 | 21.778 | 21.778 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:03:00 | 96.2547 | 21.7546 | 21.7546 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:04:00 | 96.3864 | 21.7316 | 21.7316 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:05:00 | 96.5164 | 21.7089 | 21.7089 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:06:00 | 96.6449 | 21.6865 | 21.6865 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:07:00 | 96.7718 | 21.6644 | 21.6644 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:08:00 | 96.8972 | 21.6426 | 21.6426 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:09:00 | 97.0211 | 21.621 | 21.621 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:10:00 | 97.1436 | 21.5997 | 21.5997 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:11:00 | 97.2647 | 21.5787 | 21.5787 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:12:00 | 97.3844 | 21.558 | 21.558 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:13:00 | 97.5028 | 21.5375 | 21.5375 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:14:00 | 97.62 | 21.5173 | 21.5173 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:15:00 | 97.7359 | 21.4973 | 21.4973 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:17:00 | 97.964 | 21.458 | 21.458 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:18:00 | 98.0763 | 21.4387 | 21.4387 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:19:00 | 98.1875 | 21.4196 | 21.4196 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:20:00 | 98.2976 | 21.4007 | 21.4007 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:21:00 | 98.4066 | 21.382 | 21.382 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:22:00 | 98.5145 | 21.3635 | 21.3635 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:23:00 | 98.6215 | 21.3452 | 21.3452 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:24:00 | 98.7274 | 21.3271 | 21.3271 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:25:00 | 98.8323 | 21.3092 | 21.3092 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:26:00 | 98.9363 | 21.2915 | 21.2915 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:27:00 | 99.0393 | 21.2739 | 21.2739 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:28:00 | 99.1415 | 21.2565 | 21.2565 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:29:00 | 99.2427 | 21.2393 | 21.2393 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:30:00 | 99.3431 | 21.2223 | 21.2223 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:31:00 | 99.4426 | 21.2054 | 21.2054 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:32:00 | 99.5413 | 21.1887 | 21.1887 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:33:00 | 99.6392 | 21.1721 | 21.1721 | 22.4706 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:34:00 | 99.667 | 21.167 | 21.167 | 45.529 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0.096883 | 0 | 0.060807 | 0.034763
22.667 | 27.889 | 1 | 1 | 2019-01-01 03:35:00 | 98.9387 | 21.2861 | 21.2861 | 45.3459 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39863
22.667 | 27.889 | 1 | 1 | 2019-01-01 03:36:00 | 97.7915 | 21.476 | 21.476 | 44.7008 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.3978
22.667 | 27.889 | 1 | 1 | 2019-01-01 03:37:00 | 96.5543 | 21.6835 | 21.6835 | 44.3907 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.3974
22.667 | 27.889 | 1 | 1 | 2019-01-01 03:38:00 | 95.3587 | 21.8869 | 21.8869 | 44.4806 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39751
22.667 | 27.889 | 1 | 1 | 2019-01-01 03:39:00 | 94.2238 | 22.0826 | 22.0826 | 44.6999 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39778
22.667 | 27.889 | 1 | 1 | 2019-01-01 03:40:00 | 93.1381 | 22.2722 | 22.2722 | 44.9003 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39803
22.667 | 27.889 | 1 | 1 | 2019-01-01 03:41:00 | 92.091 | 22.4575 | 22.4575 | 45.0721 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39824
22.667 | 27.889 | 1 | 1 | 2019-01-01 03:42:00 | 91.0773 | 22.6391 | 22.6391 | 45.237 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39845
22.667 | 27.889 | 1 | 1 | 2019-01-01 03:43:00 | 90.7572 | 22.6964 | 22.6964 | 22.3833 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:44:00 | 90.8681 | 22.6757 | 22.6757 | 22.4611 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:45:00 | 91.1256 | 22.6284 | 22.6284 | 22.4757 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:46:00 | 91.395 | 22.5791 | 22.5791 | 22.471 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:47:00 | 91.6421 | 22.534 | 22.534 | 22.4659 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:48:00 | 91.87 | 22.4925 | 22.4925 | 22.4637 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:49:00 | 92.0873 | 22.4529 | 22.4529 | 22.4634 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:50:00 | 92.2989 | 22.4146 | 22.4146 | 22.4636 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:51:00 | 92.5064 | 22.377 | 22.377 | 22.4638 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:52:00 | 92.7101 | 22.3402 | 22.3402 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:53:00 | 92.91 | 22.3042 | 22.3042 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:54:00 | 93.1062 | 22.2689 | 22.2689 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:55:00 | 93.2986 | 22.2344 | 22.2344 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:56:00 | 93.4874 | 22.2006 | 22.2006 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:57:00 | 93.6728 | 22.1674 | 22.1674 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:58:00 | 93.8549 | 22.135 | 22.135 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 03:59:00 | 94.0338 | 22.1031 | 22.1031 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:00:00 | 94.2096 | 22.0719 | 22.0719 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:01:00 | 94.3716 | 22.0432 | 22.0432 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:02:00 | 94.5244 | 22.0164 | 22.0164 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:03:00 | 94.6724 | 21.9905 | 21.9905 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:04:00 | 94.8177 | 21.9651 | 21.9651 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:05:00 | 94.961 | 21.9402 | 21.9402 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:06:00 | 95.1023 | 21.9156 | 21.9156 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:07:00 | 95.2415 | 21.8913 | 21.8913 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:08:00 | 95.3787 | 21.8675 | 21.8675 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:09:00 | 95.5137 | 21.8441 | 21.8441 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:10:00 | 95.6468 | 21.8211 | 21.8211 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:11:00 | 95.778 | 21.7984 | 21.7984 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:12:00 | 95.9073 | 21.7761 | 21.7761 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:14:00 | 96.1606 | 21.7325 | 21.7325 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:15:00 | 96.2847 | 21.7112 | 21.7112 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:16:00 | 96.4071 | 21.6902 | 21.6902 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:17:00 | 96.5279 | 21.6694 | 21.6694 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:18:00 | 96.6472 | 21.649 | 21.649 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:19:00 | 96.7649 | 21.6289 | 21.6289 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:20:00 | 96.8812 | 21.609 | 21.609 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:21:00 | 96.9961 | 21.5895 | 21.5895 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:22:00 | 97.1095 | 21.5701 | 21.5701 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:23:00 | 97.2216 | 21.5511 | 21.5511 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:24:00 | 97.3324 | 21.5322 | 21.5322 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:25:00 | 97.4419 | 21.5136 | 21.5136 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:26:00 | 97.5502 | 21.4953 | 21.4953 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:27:00 | 97.6572 | 21.4772 | 21.4772 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:28:00 | 97.763 | 21.4593 | 21.4593 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:29:00 | 97.8677 | 21.4416 | 21.4416 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:30:00 | 97.9713 | 21.4241 | 21.4241 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:31:00 | 98.0738 | 21.4068 | 21.4068 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:32:00 | 98.1752 | 21.3897 | 21.3897 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:33:00 | 98.2756 | 21.3728 | 21.3728 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:34:00 | 98.375 | 21.3561 | 21.3561 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:35:00 | 98.4734 | 21.3396 | 21.3396 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:36:00 | 98.5708 | 21.3233 | 21.3233 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:37:00 | 98.6673 | 21.3071 | 21.3071 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:38:00 | 98.7629 | 21.2911 | 21.2911 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:39:00 | 98.8576 | 21.2753 | 21.2753 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:40:00 | 98.9514 | 21.2596 | 21.2596 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:41:00 | 99.0443 | 21.2441 | 21.2441 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:42:00 | 99.1364 | 21.2287 | 21.2287 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:43:00 | 99.2277 | 21.2135 | 21.2135 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:44:00 | 99.3182 | 21.1985 | 21.1985 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:45:00 | 99.408 | 21.1835 | 21.1835 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:46:00 | 99.4969 | 21.1688 | 21.1688 | 22.4639 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
22.667 | 27.889 | 1 | 1 | 2019-01-01 04:47:00 | 98.8003 | 21.2831 | 21.2831 | 45.4743 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39877
22.667 | 27.889 | 1 | 1 | 2019-01-01 04:48:00 | 97.6552 | 21.4732 | 21.4732 | 44.7849 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.3979
22.667 | 27.889 | 1 | 1 | 2019-01-01 04:49:00 | 96.4098 | 21.6827 | 21.6827 | 44.4043 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39742
22.667 | 27.889 | 1 | 1 | 2019-01-01 04:50:00 | 95.2059 | 21.8882 | 21.8882 | 44.4715 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.3975
22.667 | 27.889 | 1 | 1 | 2019-01-01 04:51:00 | 94.0648 | 22.0856 | 22.0856 | 44.6958 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39779
22.667 | 27.889 | 1 | 1 | 2019-01-01 04:52:00 | 92.9742 | 22.2768 | 22.2768 | 44.9026 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39805
22.667 | 27.889 | 1 | 1 | 2019-01-01 04:53:00 | 91.9228 | 22.4635 | 22.4635 | 45.0764 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39826
22.667 | 27.889 | 1 | 1 | 2019-01-01 04:54:00 | 90.9051 | 22.6465 | 22.6465 | 45.2417 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 1 | 0 | 0.62763 | 0.39847
22.667 | 27.889 | 1 | 1 | 2019-01-01 04:55:00 | 90.58 | 22.7052 | 22.7052 | 22.3886 | 7.2 | 21.667 | 22.667 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:56:00 | 90.6851 | 22.6857 | 22.6857 | 22.4669 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:57:00 | 90.9366 | 22.6398 | 22.6398 | 22.4816 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:58:00 | 91.1998 | 22.5919 | 22.5919 | 22.4769 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 04:59:00 | 91.4407 | 22.5481 | 22.5481 | 22.4718 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:00:00 | 91.6624 | 22.5079 | 22.5079 | 22.4696 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:01:00 | 91.8322 | 22.4784 | 22.4784 | 22.4693 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:02:00 | 91.9704 | 22.4554 | 22.4554 | 22.4695 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:03:00 | 92.0963 | 22.4348 | 22.4348 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:04:00 | 92.2188 | 22.415 | 22.415 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:05:00 | 92.3398 | 22.3954 | 22.3954 | 22.4698 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:06:00 | 92.4591 | 22.3761 | 22.3761 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:07:00 | 92.5763 | 22.3572 | 22.3572 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:08:00 | 92.6912 | 22.3387 | 22.3387 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:09:00 | 92.8038 | 22.3207 | 22.3207 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:11:00 | 93.0222 | 22.2859 | 22.2859 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:12:00 | 93.1283 | 22.2691 | 22.2691 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:13:00 | 93.2323 | 22.2527 | 22.2527 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:14:00 | 93.3344 | 22.2367 | 22.2367 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:15:00 | 93.4347 | 22.221 | 22.221 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:16:00 | 93.5332 | 22.2056 | 22.2056 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:17:00 | 93.6299 | 22.1906 | 22.1906 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:18:00 | 93.725 | 22.1758 | 22.1758 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:19:00 | 93.8184 | 22.1614 | 22.1614 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:20:00 | 93.9103 | 22.1473 | 22.1473 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:21:00 | 94.0006 | 22.1334 | 22.1334 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:22:00 | 94.0895 | 22.1198 | 22.1198 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:23:00 | 94.177 | 22.1065 | 22.1065 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:24:00 | 94.263 | 22.0935 | 22.0935 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:25:00 | 94.3478 | 22.0806 | 22.0806 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:26:00 | 94.4313 | 22.0681 | 22.0681 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:27:00 | 94.5135 | 22.0557 | 22.0557 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:28:00 | 94.5945 | 22.0436 | 22.0436 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:29:00 | 94.6743 | 22.0317 | 22.0317 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:30:00 | 94.753 | 22.02 | 22.02 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:31:00 | 94.8306 | 22.0085 | 22.0085 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:32:00 | 94.9071 | 21.9972 | 21.9972 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:33:00 | 94.9826 | 21.9861 | 21.9861 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:34:00 | 95.0571 | 21.9752 | 21.9752 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:35:00 | 95.1306 | 21.9644 | 21.9644 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:36:00 | 95.2032 | 21.9539 | 21.9539 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:37:00 | 95.2748 | 21.9435 | 21.9435 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:38:00 | 95.3456 | 21.9332 | 21.9332 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:39:00 | 95.4154 | 21.9231 | 21.9231 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:40:00 | 95.4845 | 21.9132 | 21.9132 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:41:00 | 95.5527 | 21.9034 | 21.9034 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:42:00 | 95.6202 | 21.8938 | 21.8938 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:43:00 | 95.6869 | 21.8843 | 21.8843 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:44:00 | 95.7529 | 21.8749 | 21.8749 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:45:00 | 95.8182 | 21.8657 | 21.8657 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:46:00 | 95.8827 | 21.8566 | 21.8566 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:47:00 | 95.9465 | 21.8476 | 21.8476 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:48:00 | 96.0097 | 21.8387 | 21.8387 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:49:00 | 96.0722 | 21.83 | 21.83 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:50:00 | 96.1341 | 21.8214 | 21.8214 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:51:00 | 96.1954 | 21.8129 | 21.8129 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:52:00 | 96.2561 | 21.8045 | 21.8045 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:53:00 | 96.3162 | 21.7962 | 21.7962 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:54:00 | 96.3757 | 21.788 | 21.788 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:55:00 | 96.4347 | 21.7799 | 21.7799 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:56:00 | 96.4931 | 21.7719 | 21.7719 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:57:00 | 96.551 | 21.764 | 21.764 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:58:00 | 96.6084 | 21.7562 | 21.7562 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 05:59:00 | 96.6653 | 21.7484 | 21.7484 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 06:00:00 | 96.7217 | 21.7408 | 21.7408 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 06:01:00 | 96.7212 | 21.7419 | 21.7419 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 06:02:00 | 96.6858 | 21.7485 | 21.7485 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 06:03:00 | 96.6388 | 21.7569 | 21.7569 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 06:04:00 | 96.5917 | 21.7654 | 21.7654 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 06:05:00 | 96.5471 | 21.7734 | 21.7734 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0
21.167 | 27.889 | 1 | 1 | 2019-01-01 06:06:00 | 96.5048 | 21.781 | 21.781 | 22.4697 | 7.2 | 21.667 | 21.167 | 1 | 0.5 | 25.889 | 27.889 | 2.0 | 2.0 | 0 | 0 | 0 | 0